## Sheet 1 - parametric-flood-insu
Level 0 | Level 1 | Level 2 | Field | Data Type | Data Description | Example Value | Menu Options
FloodGauge | Header |  | section | N/A
|  |  | GaugeID | text | Unique identifier for the sensor | GAUGE-001
| SensorStats |  | section | N/A
|  |  | HistoricalHighLevel | decimal | Measurement of highest level recorded | 2.7
|  |  | HistoricalHighDate | date | Date of highest recorded level
|  |  | LastDateLevelExceedLevel3 | date | Date the last time Level 3 was exceeded
|  |  | FrequencyExceedLevel3 | integer | Number of times in past 5 years Level 3 exceeded
| SensorDetails |  | section | N/A
|  | GaugeInformation | section | N/A
|  |  | DataSourceType | menu | Type of data source | SensorGauge | {SensorGauge, Satellite, WeatherStation}
|  |  | GaugeOwner | text | Name of data provider | UK Environmental Agency
|  |  | GaugeType | menu | Specific type of river gauge | Staff gauge | {Staff gauge, Wire-weight gauge, Shaft encoder, Bubbler system, Pressure transducer, Radar gauge, Ultrasonic gauge}
|  |  | ManufacturerName | text | Manufacturer of sensor | OTT HydroMet
|  |  | InstallationDate | date | Date sensor was installed | 2024-01-01
|  |  | LastInspectionDate | date | Date of last physical inspection | 2024-02-15
|  |  | MaintenanceSchedule | menu | Required frequency of inspections | Quarterly | {Monthly, Quarterly, Bi-annual, Annual}
|  |  | OperationalStatus | menu | Current operational status | Fully operational | {Fully operational, Maintenance required, Temporarily offline, Decommissioned}
|  |  | CertificationStatus | menu | Current certification status | Fully certified | {Fully certified, Provisional, Under review, Non-certified}
|  |  | GaugeLatitude | decimal | Latitude coordinate of gauge | 51.4543
|  |  | GaugeLongitude | decimal | Longitude coordinate of gauge | -0.9781
|  | Measurements | section | N/A
|  |  | MeasurementFrequency | menu | How often measurements are taken | 15 minutes | {5 minutes,15 minutes,30 minutes, Hourly},,,}
|  |  | MeasurementMethod | menu | How measurements are recorded | Automatic | {Automatic, Manual, Hybrid}
|  |  | DataTransmission | menu | Type of data transmission | Automatic | {Manual, Automatic}
|  |  | DataCurator | text | Which agency collects and stores data | UK Environmental Agency
|  |  | DataAccessMethod | menu | How data can be accessed by the parties | PublicAPI | {PublicAPI, WebInterface, Email/Other}
| Flood Stage |  | section | N/A
|  | UK | section | N/A
|  |  | DecisionBody | text | Governmental Bodies
|  |  | FloodAlert | decimal | Trigger Level
|  |  | FloodWarning | decimal | Trigger Level
|  |  | SevereFloodWarning | decimal | Trigger Level