## Hierarchy
Asset_Type | Primary_Feature | Secondary_Feature | Attribute_Type | Attribute_Desc | Attribute_Restrictions
Residential Property | Property Level protection | Temporary Protection | External Fittings | Flood barriers or gates
Residential Property | Property Level protection | Temporary Protection | External Fittings | Sandbags or water filled barriers
Residential Property | Property Level protection | Temporary Protection | External Fittings | Flood panels
Residential Property | Property Level protection | Temporary Protection | External Fittings | Flood panels
Residential Property | Property Level protection | Temporary Protection | External Fittings | Airbrick covers
Residential Property | Property Level protection | Temporary Protection | Internal Fittings | Toilet bungs
Residential Property | Property Level protection | Temporary Protection | Internal Fittings | Removeable door seals
Residential Property | Property Level protection | Permanent Protection | Flood resilience construction | Raised threshold or entrance steps
Residential Property | Property Level protection | Permanent Protection | Internal Fittings | Elevated electrical sockets / wiring above floor level
Residential Property | Property Level protection | Permanent Protection | Flood resilience construction | Waterproof wall sealant
Residential Property | Property Level protection | Permanent Protection | Flood resilience construction | Cavity wall membrane
Residential Property | Property Level protection | Permanent Protection | Internal Fittings | Non-return valves on drains and pipes
Residential Property | Property Level protection | Permanent Protection | Internal Fittings | Sump pump systems
Residential Property | Property Level protection | Permanent Protection | Flood resilience construction | Flood resiliant doors and windows
Residential Property | Property Level protection | Permanent Protection | Internal Fittings | Waterproof flooring (tiles, concrete)
Residential Property | Property Level protection | Permanent Protection | Flood resilience construction | Raised foundations / stilts
Residential Property | Property Level protection | Permanent Protection | External Fittings | Pearmeable paving in driveways / paths
Residential Property | Property Level protection | Permanent Protection | Internal Fittings | Proper drainage systems / french drains
Residential Property | Property Level protection | Permanent Protection | External Fittings | Proper drainage systems / french drains
Residential Property | Property Level protection | Permanent Protection | External Fittings | Landscaping for water diversion (swlaes, berms)
Residential Property | Property Level protection | Permanent Protection | Flood resilience construction | Reinforced walls
Residential Property | Property Level protection | Natural Protection | Environmental Fittings | Rain gardens
Residential Property | Property Level protection | Natural Protection | External Fittings | Detention ponds
Residential Property | Property Level protection | Natural Protection | Environmental Fittings | Green roofs
Residential Property | Property Level protection | Natural Protection | External Fittings | Strategic tree planting
Residential Property | Property Level protection | Natural Protection | Environmental Fittings | Bioswales
Residential Property | Property Level protection | Natural Protection | Environmental Fittings | Water storage tanks / rain barrels
Residential Property | EPC Rating | Walls | Building construction | Wall contruction type
Residential Property | EPC Rating | Walls | Building construction | Cavity wall insulation
Residential Property | EPC Rating | Insulation | Building construction | Cavity wall insulation
Residential Property | EPC Rating | Walls | Building construction | Thermal bridging
Residential Property | EPC Rating | Insulation | Internal Fittings | Loft insulation
Residential Property | EPC Rating | Roof | Building construction | Roof type
Residential Property | EPC Rating | Floor | Building construction | Floor construction type
Residential Property | EPC Rating | Insulation | Building construction | Floor insulation
Residential Property | EPC Rating | Floor | Building construction | Floor insulation
Residential Property | EPC Rating | Floor | Building construction | Suspended verses solid floor
Residential Property | EPC Rating | Energy | Internal Fittings | Heating system
Residential Property | EPC Rating | Energy | Internal Fittings | Hot water
Residential Property | EPC Rating | Energy | Internal Fittings | Lighting
Residential Property | EPC Rating | Renewable energy systems | Environmental Fittings | Solar panels
Residential Property | EPC Rating | Renewable energy systems | Environmental Fittings | Heat pumps
Residential Property | EPC Rating | Doors | Environmental Fittings | Draught proofing
Residential Property | EPC Rating | Windows | Environmental Fittings | Draught proofing
Residential Property | EPC Rating | Windows | Environmental Fittings | Air tightness
Residential Property | EPC Rating | Windows | Internal Fittings | Window glazing type
Residential Property | EPC Rating | Windows | Internal Fittings | Window frame type
Residential Property | EPC Rating | Doors | Internal Fittings | Doors type
Residential Property | EPC Rating | Foundations | External Fittings | Property size
Residential Property | EPC Rating | Walls | Internal Fittings | Room heights
Residential Property | EPC Rating | Energy | Environmental Fittings | Estimated energy costs
Residential Property | EPC Rating | Energy | Environmental Fittings | CO2 emmissions
Residential Property | EPC Rating | Energy | Environmental Fittings | Primary energy use
Residential Property | Hazard curve | Location | Location | Easting / Northing or lat/Long
Residential Property | Hazard curve | Floor | Building contruction | Floor level
Residential Property | Hazard curve | Surrounding area | Location | Distance from (e.g. nearest watercourse)
Residential Property | Hazard curve | Foundations | Location | Soil type
Residential Property | Hazard curve | Surrounding area | Location | Nearby topography (e.g. roads, grass, trees)
Residential Property | Hazard curve | Surrounding area | Location | Hazard parameters (e.g. rainfall, lakes, snowmelt)
Residential Property | Hazard curve | Surrounding area | Location | Urban / sub-urban / rural
Residential Property | Hazard curve | Surrounding area | Digital Terrain / Contours | Elevation
Residential Property | Vulnerability curve | Foundations | Building contruction | Height above ground
Residential Property | Vulnerability curve | Foundations | Building contruction | With basement
Residential Property | Vulnerability curve | Foundations | Building contruction | Without basement
Residential Property | Vulnerability curve | Foundations | Building contruction | Foundation type
Residential Property | Vulnerability curve | Foundations | Building contruction | Construction type (wood, concrete)
Residential Property | Vulnerability curve | Foundations | Building contruction | Number of stories
Residential Property | Vulnerability curve | Occupancy Type | Building contruction | Occupancy type (resi, com, ind)
Residential Property | Vulnerability curve | Occupancy Type | Internal Fittings | Contents value density (low, medium, high)
Residential Property | Vulnerability curve | Occupancy Type | Building contruction | Property type (material)
Residential Property | Vulnerability curve | Occupancy Type | Building contruction | Property type (detached, semi, bungalow, flat)
Residential Property | Vulnerability curve | Occupancy Type | Building contruction | Square footage
Residential Property | Vulnerability curve | Occupancy Type | Building contruction | Extensions / alterations

## Attribute_restrictions
Construction Characteristics:
1. Foundation Type
- Slab on grade
- Crawl space
- Basement
- Pile/pier foundations
2. Building Structure
- Timber frame
- Brick/stone masonry
- Steel frame
- Concrete frame
- Modular/prefabricated
- ICF (Insulated Concrete Forms)
3. Wall Construction
- Solid masonry
- Cavity wall
- Timber frame with cladding
- Stone
- Rendered block work
4. Roof Type
- Pitched
- Flat
- Mansard
- Hip
- Mono-pitch
- Materials (slate, tile, metal, thatch)
Interior Features:
1. Room Configuration
- Open plan
- Traditional separated rooms
- Split level
- Number of bedrooms/bathrooms
2. Fittings & Fixtures
- Standard
- Luxury
- Bespoke
- Period features
- Modern amenities
3. Systems & Services
- Heating type (gas, electric, oil, renewable)
- Air conditioning
- Ventilation systems
- Smart home technology
- Security systems
External Features:
1. Plot Characteristics
- Garden size/type
- Driveway/parking
- Outbuildings
- Boundary treatments
- Landscaping
2. Amenities
- Garage
- Swimming pool
- Conservatory
- Patio/deck
- External storage
Age & Period:
1. Historic/Period
- Listed building status
- Conservation area
- Architectural significance
2. Construction Era
- Pre-1919
- Interwar (1919-1945)
- Post-war (1945-1970)
- Modern (1970-present)
- Contemporary (new build)
Environmental Features:
1. Energy Efficiency
- Insulation type/rating
- Double/triple glazing
- Solar panels
- Ground source heat pumps
- EPC rating
2. Sustainability Features
- Rainwater harvesting
- Grey water systems
- Natural ventilation
- Eco-friendly materials
Location Characteristics:
1. Setting
- Urban
- Suburban
- Rural
- Coastal
2. Plot Position
- Detached
- Semi-detached
- Terraced
- End of terrace
- Apartment/flat
Accessibility Features:
1. Mobility Access
- Level access
- Wheelchair accessibility
- Adapted bathrooms
- Stair lifts
- Wide doorways